Physiological Modeling

Recall the cardiac output problem from last quarter:

To measure cardiac output, a physician inserts a catheter into the left atrium, injects saline at room temperature, and measures the temperature in the aorta.  The situation can be modeled as below:

You wish to know:

- The temperature Tout as a function of time, assuming that the saline inflow is constant for a given period of time (tin)  and zero otherwise.

- The relationship between the area under the curve (T vs. time) and the flow rate.

Consider assumptions that are made in clinical applications:

- Saline is injected continuously at a constant rate over a few seconds (ts).

- Inflow from the vena cava is constant in time.

- Outflow to the aorta is constant in time.

- All heat loss from the heart is a result of inflow and outflow.  I.e., the circulatory system is adiabatic.

- There is complete mixing within the heart.

- Inflow and outflow profiles are “plug flow.”

- Temperature of the blood from the vena cava is constant.

None of these assumptions is true.  For each assumption, state why it is not true.  Then provide a reasonable argument as to why it can be considered “approximately true.”

# Text boxes

Blood Flow In T=Tin

Saline  In, T=Ts

Blood Flow Out, T=Tout

Complete Mixing within Heart