Biomedical Senior Design

Checklist for Writing

Steven A. Jones

May 15, 2004

You must include the following functions before you turn in your report.   Please check off each item and turn this form in with your report.  Reports will not be accepted for grading until you have completed this checklist and may be considered as “late” if they must be returned to you for lack of your attention to these items.
 FORMCHECKBOX 

We have appropriately referenced at least 30 refereed journal articles within the text of the report and provided complete references to these in the References section (All Sections).
 FORMCHECKBOX 

We have delineated the user needs to be fulfilled by the device (Introduction).

 FORMCHECKBOX 

We have delineated the engineering design criteria to be fulfilled by the device (Introduction).
 FORMCHECKBOX 

We have constructed a prototype and described its function and construction (Methods)

 FORMCHECKBOX 

We have included a detailed drawing of the function of the device (block diagram) and have provided a photograph of the prototype.  (Note: A circuit diagram is not a block diagram).  (Methods).

 FORMCHECKBOX 

We have described all setups and procedures to be used in testing each device criterion (Methods).
 FORMCHECKBOX 

We have described a physiological, mathematical model appropriate to the function of the device (Methods).
 FORMCHECKBOX 

We have tested all design criteria for the device, and provided the results of these tests in graphical form, comparing with theory on the same plot, where appropriate (Results).
 FORMCHECKBOX 

We have described in words all of the data collected from the device (Results).
 FORMCHECKBOX 

We have performed statistical analysis to determine the significance of our data and reported p-values or other appropriate values (Results).
 FORMCHECKBOX 

We have discussed potential problems with the testing systems and measurement methods (Discussion).
 FORMCHECKBOX 

We have discussed the degree to which the prototype to pass all of the device criteria and explained (Discussion).
 FORMCHECKBOX 

We have explained why the prototype failed any of the tests (where appropriate) (Discussion).
 FORMCHECKBOX 

We have suggested ways to redesign the device to make it pass tests that it failed in this report (Discussion).
 FORMCHECKBOX 

We have discussed how the results of the testing could be used to improve the function of the device (Discussion).

 FORMCHECKBOX 

We have discussed how the results of the physiological modeling could be used to improve the function of the device (Discussion).

 FORMCHECKBOX 

We have discussed reasons for discrepancies between measurements and theoretical models (Discussion).

 FORMCHECKBOX 

We have performed a cost analysis that includes: 1. The cost of the prototype (including the true cost of any equipment that was donated to the group), 2. The expected cost of a production model, and 3. Anticipated annual income for a company that produces the device (Discussion).

 FORMCHECKBOX 

We have discussed human factors (Discussion).

 FORMCHECKBOX 

We have made a conclusion about the general viability of this device as a biomedical product (Conclusion).

 FORMCHECKBOX 

We have acknowledged the help of at least 3 people outside of our project team (Acknowledgements).







